Bill of Quantities
	SN
	Description
	Unit
	Quantity
	Rate In Figure
	Rate In Word
	Amount
	Remarks

	 
	Provisional Sum
	 
	 
	 
	 
	 
	 

	1
	Insurance of works, plants, materials, loss and damage to equipment’s, Contractor’s workmen and employees and third-party insurance against damage to other persons and property. [GCC 19.1] and other miscellaneous works
	Ps
	1
	 
	 
	 
	 

	2
	Provide and installation of project information board of size as per instruction of site architect/ engineer.
	Ps
	1
	 
	 
	 
	 

	 
	Civil Work
	 
	 
	 
	 
	 
	 

	1
	Earth work in excavation of foundation manually with approved Material as per Drawing and Technical Specifications. 
	Cu. m.
	26.54
	 
	 
	 
	 

	2
	Plain cement Concrete (PCC) in 1:2:4 ratio
	Cum
	12.31
	 
	 
	 
	 

	3
	Random Rubble Stone Masonry in 1:4 c/s mortar
	Cu. m.
	99.85
	 
	 
	 
	 

	4
	Pointing in 1:2 c/s mortar
	Sq. m.
	177
	 
	 
	 
	 

	5
	12.5 mm plastering in 1:4 c/s mortar
	Sq. m.
	252.9
	 
	 
	 
	 

	6
	Supplying and fixing of MS Angle Iron 40x40x5 mm (unit weight 2.94) Post @ 1.5m c/c 
	Kg.
	518.6
	 
	 
	 
	 

	7
	Providing and painting 2 coats of enamel paint with once coat of red oxide paint
	Sq. m.
	21.42
	 
	 
	 
	 

	8
	Supplying and fixing of GI wire mesh (50x50mm,10 gauge) screen for fencing
	Sq. m.
	177
	 
	 
	 
	 

	9
	Supplying and fixing three layers of barbed wire on top of angle-iron posts, with the barbed-wire strands spaced at 6 inches, complete with all necessary fixing accessories, for fencing. 
	R.m.
	354
	 
	 
	 
	 

	 
	 
	 Base Cost (A) 
	 
	 
	NRP

	
	
	 VAT (13%) 
	 
	 
	NRP

	
	
	 PS 
	 
	 
	NRP

	
	
	 Grand Total 
	 
	 
	NRP
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